**204 –Utility Verification by Consultant(s)**

**204.1 Water:**

* Identify and verify through DFMS Facilities Management that there is sufficient capacity that will allow the project to tap on to the systems.
* Perform a flow test to identify the system flow and pressure.
* Obtain both Federal and State permits in the event that water is proposed to be withdrawn from a Waters of the United States of America.

**204.2 Sewer:**

* Identify and verify that the system has the capacity and will allow the project to tie into their system.
* Obtain and submit a letter, to the Division of Water, from local utility company allowing a tap onto their system.
* Obtain both Federal and State permits in the event that effluent is proposed to be discharged into a Waters of the United States of America.

**204.3 Natural Gas:** Identify and verify that natural gas is available and whether there is an adequate supply for the project.

**204.4 Electricity:**

* Identify and coordinate with DFMS Facilities Management to determine if there is adequate electrical supply for the project.
* Determine the feasibility of bringing electric lines to the project site.

**204.5** **Cable TV:** Verify availability and accessibility.

**204.6** **High-Speed Data:** Verifyavailability and accessibility.

**204.7** **Telephone:** Verifyavailability and accessibility.