924 - 	Final Completion / Owner Acceptance

The Date for Final Completion is determined by the Contract Documents.

924.1 Contractors Responsibility: Prior to the Final Completion Inspection the Contractor shall provide written documentation that:

- Work is complete and in accordance with the Contract Documents is ready for final inspection.

- Record Drawings reflecting “as-built” conditions are complete and acceptable to the Architect-Engineer.

- All required Project Close-out Documentation is complete.

- Full Occupancy Permit from the Department for Housing, Buildings and Construction has been obtained.

- All additional materials required by the specifications have been delivered to the DFMS Project Manager, i.e., Spare parts, ceiling tile, floor tile, etc.

- All Facilities Management training has been completed.

- All LEED certification documents required of the contractor have been submitted to the Architect-Engineer for inclusion in the LEED submittals.

924.2 Final Completion Inspection: The Architect-Engineer shall schedule an inspection with the Contractor, major Subcontractors, Sub-consultants, Construction Specialist, University Department Representative and Project Manager. The inspection shall:

- Verify that all items listed in the substantial completion Punch List have been completed.

- Review results of inspection and schedule re-inspection if work is considered incomplete.

- Review the status of Contract Time

- Verify operation of equipment and systems.

- Verify completeness of O&M Manuals.

- Verify and document delivery of surplus stock to Facilities Management.

- Verify completeness of Close-out and Record Documents.

- Set tentative date for Year-warranty review.

- Review status of Liquidated damages if applicable.